PREMISES LOGBOOK FOR MAINTENANCE REGIME

CONTENTS

## PART ONE – Guidance & Information

#### 01:	General Guidance and Information

#### 02:	Further Support and Advice

#### 03: 	Guidance to Legal Duties for Maintenance Regime (without prejudice) – October 		2014.

#### 04:	Overview of Tasks and Documentation.

## PART TWO – Maintenance Records

General Maintenance Documents

#### GM01:	Maintenance Calls Record – To be completed by school when a fault is 			reported to your contractor(s).

#### GM02:	Maintenance Contractor Attendance Record.

#### GM03:	Emergency Isolation & Utility Meter Locations – Gas, Electricity & Water.

#### GM04:	Building Information Locations – Water Hygiene Logbook, COSHH Risk 			Assessment, Asbestos Management Plan etc.

#### GM05:	Mechanical & Electrical Maintenance Planner – issued by contractor.

#### GM06:	Monitoring & Reviews – used to record regular reviews of this logbook.

#### GM07:	Communications and other documents

Note: These contents pages should be specific to your school so can be used as a starting point and amended accordingly.

## PART TWO – Maintenance Records (continued)

### Roof Safety Equipment

R01	Maintenance and remedial work records.

R02	Written Scheme of Examination.

R03	Thorough Inspection Records – usually 6 months for roof safety equipment.

Lifts and Lifting Equipment

L01	Logbook for all lifting equipment. Including personnel lifts, hoists and platform lifts.

L02	Maintenance and remedial work records for all of the above.

L03	Written Scheme(s) of Examination.

L04	Thorough inspection records – usually 6 months for people carrying equipment.

PE, Playground Equipment & External Areas

P01	Playground Equipment & Area Inspection Record.

P02	Gymnasia, Sports Halls and Fitness Areas Inspection Record.

P03	Trees – Visual Inspection Record.

P04	External play equipment inspection records.

P05	PE equipment inspections – specialist contractor.

P06	Playground equipment – specialist contractor.

Fire Safety and Emergency Lighting

F01	Fire alarm – weekly call points activation record.

F02	Fire alarm - 6 monthly specialist contractor servicing.

F03	Emergency lighting monthly test record.

F04	Emergency lighting – annual test by specialist.

F05	Sprinkler alarm gong test record.

F06	Sprinkler maintenance records.

F07	Monthly door inspection records.

F08	Fire extinguisher specialist inspections and maintenance.

F09	Fire extinguisher weekly inspection record.

Security Systems

S01	Intruder alarm service records.

S02	Access control system service records.

S03	CCTV service records.

S04	Panic alarm test records.

### Heating and Gas Installations

H01	Heating system service records.

H02	Gas appliance service records e.g. caretaker’s house, gas water boilers, catering 	equipment.

H03	Insurance inspection records

H04	Pressure system service records.

H05	Pressure vessels: Written Scheme of Examination.

Air Conditioning and Ventilation

AC01	Air conditioning system servicing records.

AC02	General ventilation maintenance records e.g. extractor fans, air handling units, LEV 	systems (excluding kitchen extracts).

AC03	Kitchen extract maintenance records.

AC04	Fume cupboard maintenance records.

Electrical Safety and Lightning Protection

E01	Electrical Installation Condition Report.

E02	Remedial works records.

E03	Electrical appliance testing records.

E04	Register of electrical appliances.

E05	Lightning protection servicing records.

Ancillary or Other Systems and/or Equipment

A01	Ladder and steps inspections.

A02	Kiln maintenance records.

A03	Other e.g. ionising radiation equipment.

A04	Other e.g. pull cord alarms for accessible toilets.