FIRE SAFETY

Sheet Number:

F01: WEEKLY - Fire Alarm Call Points Activation Record

| DATE | CALL POINT NUMBER | CALL POINT LOCATION | SIGNATURE | OBSERVATIONS/ACTIONS | Daily checks? | REMEDIAL WORKS COMPLETE ###### DATE SIGN |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10/03/10 | 12 | Outside KS1 classroom | ##### A. Name | All OK | AN | 14/03/10 | A. Name |

#### NOTES

- Make staff and other occupant aware of the test times.

- Activate a call point, and ensure the sounders are activated for a maximum of 15 seconds).

- Call points should be tested once a week (at the same time) on a rotational basis, so that every call point is activated at least once per year.

- All faults MUST be addressed as soon as possible.