FIRE SAFETY

Sheet Number:

F03: MONTHLY - Emergency Lighting Test Record

| DATE | AREA TESTED | SIGNATURE | OBSERVATIONS/ACTIONS | Daily checks? | REMEDIAL WORKS COMPLETE ###### DATE SIGN |  |
| --- | --- | --- | --- | --- | --- | --- |
| 10/03/10 | ##### All of Ground floor & part 1st floor | ##### A. Name | 1 light not working. Contractor called | AN | 13/03/10 | A. Name |
| 11/03/10 | Completed 1st floor | ##### A. Name | All lights ok | AN | 13/03/10 | A. Name |

#### NOTES

- Activate emergency lighting by operating the test key switch or isolating the internal lighting. Test as per manufacturer instructions.

- All faults MUST be addressed as soon as possible.