FIRE SAFETY

Sheet Number:

F05: WEEKLY – Sprinkler Testing Record: Alarm and Water Pressure

(You may require further sheets for other recommended testing of the sprinkler system. This sheet can be modified and renamed as F05a, F05b etc.)

| DATE | WATER ALARM GONG (30s min) | WATER/AIR PRESSURE | SIGNATURE | OBSERVATIONS/ACTIONS | REMEDIAL WORKS COMPLETE ###### DATE SIGN |  |
| --- | --- | --- | --- | --- | --- | --- |
| 10/03/10 | OK | ##### OK | ##### A. Name | All OK | 12/03/10 | A. Name |

#### NOTES

- Ensure the person undertaking the testing has been adequately trained by the sprinkler maintenance contractor and that all recommended testing is completed.

- Check operation of water/motor alarm gong, ensuring a sounding operation of not less than 30 seconds.

- Check all water and air pressure gauge readings are correct.

- Complete testing at the same time every week.

- If any faults are found, the contractor MUST be called to investigate.