FIRE SAFETY

F07: MONTHLY - Door Inspection Record

| DATE | DOOR TYPE | SIGNATURE | OBSERVATIONS/ACTIONS | Daily checks? | REMEDIAL WORKS COMPLETE |
| --- | --- | --- | --- | --- | --- |
|  | Automatic Opening | Hold – Open Devices | Fire Door |  |  |  | DATE | SIGN |
| 10/03/10 | OK | See note | OK | A. Name | Staffroom door didn’t close. Contractor called | AN | 12/03/10 | A. Name |

- Automatic Opening Doors – The operation of fail-safe mechanisms should be tested by simulating failure (Specialist contractor should test doors every 6-months).

- Hold-Open Devices – The operation of the hold-open devices should be tested by simulating failure or activation of fire alarm system. (Specialist contractor should test doors every 6-months).

- Fire Doors – Fire doors should be inspected every 6-months to ensure: -

  - Heat activators are not damaged

  - Smoke seals are not damaged

  - Doors operate effectively and the gap between the door leaves are not too wide thus making the smoke seal ineffective.

# Text boxes

Sheet Number: